TMS Analysis Toolbox – Quick Start Guide

1. Download JMP Student Edition (Free for Students and Faculty)

- JMP: Statistical Discovery

  - JMP offers easy visualization and data-summary tools, which you can export and analyze in any software (e.g., RStudio examples to follow).

  - JMP also integrates seamlessly with Excel and accepts the long-format data exported from the TMS Analysis Toolbox, making it easy to transition directly into downstream analyses.

https://www.jmp.com/en/academic/jmp-student-edition

* Install with Excel-Ad In

2. Open MATLAB & Launch the Toolbox

2.1 Open MATLAB 2023a

MATLAB 2023a is required,

Required MATLAB Packages: MATLAB Statistics and Machine Learning Toolbox, Signal Processing Toolbox, Mapping Toolbox

2.2 Navigate to the Toolbox Folder

MATLAB command window:

2.3 Run the App

In the command window, type:

TMSAnalysis_Toolbox_24

Press Enter.
The app may take a few seconds to open.

*May take a couple seconds for APP to pop-up

4. Load In Condition File

Open Condition File: Condition files created with this toolbox

Open Old Condition File: Condition files created with Version 1.0

4.1. Select your files

- User created ToolBox directory will open. Condition files created by the user will be located in their Toolbox specific folder.

- Load in as many conditions file as you wish

Tip: Load files that logically will be analyzed together for your analysis (e.g., recruitment curve intensities, multiple sessions, multiple time points, etc.)

  - Example Dataset Structure

- Basic Signal Processing

- View Trial Clusters for Individual Conditions and Individual Trials

- Basic MEP Amplitude Analysis

5. Event & Epoch Definition

The next steps guide users through defining how their data will be epoched. These settings are usually established during the experimental design phase. In this example dataset, AcqKnowledge does not support comment-based event markers, so that option is unavailable (grayed out).

Go to the Data Organization tab.

5.1 Block-Based Events

Choose Block when:

- Events represent “frames” of acquisition

- Pre/post durations were defined during acquisition

In the example dataset:

- Selecting Block +  will show each “block”

- But you will want to use Events (Signal-based) for final epoching as a TTL was sent to Channel 3.

5.2 Signal-Based Events

Use this when you define events based on a signal, such as:

- TTL pulses

- Force onset

- EMG activation

You will specify:

- Event channel

- Threshold

- Search ISI (minimum time between events)

Example Settings

For this dataset:

| Parameter | Value | Meaning |
| --- | --- | --- |
| Event Channel | 3 | Where TTL pulses appear |
| Threshold | 1000 mV | Signal must exceed this to count as an event |
| Search ISI | 0.1 s | Used for noisy events. This reduces chances of random events |

Define pre and post durations.
If you exceed available data, missing segments will appear blank.

Example Output

*121 events (“trials”) were detected.

6. Understanding Trial Numbering

When loading multiple files:

- Trial numbers concatenate

- They do not reset per file

- IT IS IMPORTANT TO KNOW THE ORDER FILES WERE LOADED IN AND CAN BE VIEWED IN THE ‘FILE ORDER’ WINDOW

Example Dataset was typically 20 trials per file, but the first file had 21. It is very common to have more or less trials than planned based on how the data collection was going.

- File 1 → Trials 1–21

- File 2 → Trials 22–41

- File 3 → Trials 42–61

This cumulative structure is important when defining conditions.

7. Defining Conditions (Open Excel Template)

Open the provided Excel file.
You will see three tabs, including:

7.1 DefineCondition (Do Not Rename Tab Name)

Row 1–2: Global naming conventions. Each column can have a unique identifier. Use this for global information about the study that should be tagged on to all naming conventions and will not change for the give file.

Example prefix:

7.2 Condition Definition Tabs (Example: ST25)

Each tab contains three components, each starting with *:

- Trial Numbers

- Naming Fields (columns X–AD)

- Channel Number (column AF)

General Structure

* Trial Numbers

* Naming Conventions

* Channel

Trial #’s

Naming

Channel #

Each row = one condition.

One condition = Repeated trials for given “condition”

*  = place in column before each component (i.e Trial #’s, Naming, Channel #)

Example File

| Columns | Purpose |
| --- | --- |
| A–V | Trial numbers for each condition |
| X–AD | Naming fields (SUBID, Timepoint, Stim Intensity, etc.) |
| AF | Channel number (e.g., Sol=5, TA=1) |

Each row = one condition.

Naming consistency is essential for downstream graphing & statistics.

8. Uploading Your Condition File

Steps:

- In the App, click

- Select your Excel file

- Use the dropdown to select the correct excel tab

- Define Condition Event Settings

Of note:
The popup currently defaults to Event Type = Block, Pre (ms) = 0.15, Post (ms) = 0.15. Future update will automate this step but is still important if a dataset contains different types of events.

For this dataset, change all conditions as defined earlier

- Event Type: Events

- Event Channel: 3

- Threshold: 1000

- Search ISI: 0.1

- Pre/Post: 0.1/0.3

Press Confirm.

The App will update and press :

9. Save Condition File

Press  to save the newly generated condition file

Name your new file and press OK

This file is saved in the output folder you created in step 3.

10. Load a Condition File

the App or restart the App

go to File → Open Condition File

(Use Open Old Condition Files only for Toolbox v1.0 legacy files.)

Your Toolbox save directory will open automatically, displaying the condition file you just generated. If you have created multiple condition files, you may select and load as many as needed at the same time.

11. You Are Ready for Analysis